## Slide 1: DC’S BUILDING ENERGY PERFORMANCE STANDARDS

## Slide 2
Clean and Affordable Energy Act of 2008 requires all private and DC-owned buildings to report their calendar year (CY) energy and water use to the DOEE for public disclosure by May 1 annually.
Covered Buildings
2010 and on – DC-owned buildings >10,000 sq. ft.
2014 and on – Private buildings > 50,000 sq. ft.
2022 and on – Private buildings > 25,000 sq. ft.
2026 and on – Private buildings > 10,000 sq. ft.
Third Party Data Verification Required
Beginning 2024 and every three (3) years etc.
BENCHMARKING BASICS
@DOEE_DC #BEPSDC
https://doee.dc.gov/energybenchmarking
@DOEE_DC #BEPSDC

## Slide 3
Clean Energy DC Omnibus Amendment Act of 2018 requires an establishment of a minimum threshold for energy performance that will be “no lower than” the local median ENERGY STAR score by property type (or equivalent metric).
BUILDING ENERGY PERFORMANCE STANDARD BASICS
@DOEE_DC #BEPSDC
https://doee.dc.gov/service/beps
BEPS 1
BEPS 4
Etc..
BEPS 2
BEPS 3
Standards are set every 6 years (with 1+yr adjustment for COVID in Period 1).
@DOEE_DC #BEPSDC

## Slide 4
  As the benchmarking requirements ratchet down in square footage over time, the buildings will be required to meet the BEPS in the following periods until all buildings 10,000 sq. ft. and over are following the performance standards.
BEPS APPLICABILITY
@DOEE_DC #BEPSDC
BEPS 2: Private buildings >25,000 sq. ft. and DC-owned >10,000 sq. ft.
BEPS 3: Private buildings and DC-owned >10,000 sq. ft.
BEPS 1: Private buildings >50,000 sq. ft. and DC-owned >10,000 sq. ft.

## Slide 5
@DOEE_DC #BEPSDC
BEPS REVOLUTION
BEPS Set Every 6* Years
Data Analysis & Enforcement
3rd Party Data Verification Every 6 Years
Annual Benchmarking
Annual Benchmarking
Annual Benchmarking
Annual Benchmarking
Annual Benchmarking
Annual Benchmarking
Year 1
Year 2
Year 3
Year 4
Year 5
Year 6*
Repeat
Year 7
Annual Benchmarking
6-Year Compliance Cycle for Buildings that do not meet the standard
* COVID-19 PHE adjustment – automatic 1-year delay of BEPS compliance cycle

## Slide 6
Maximum payment based on the gross floor area of the building as reported in the building’s most recent District Benchmark Results and Compliance Report.
Adjusted proportionally based on the actual performance relative to its Pathway target.
EXAMPLE:
  Building A is 100,000 square feet and does not meet the 2021 BEPS
  Maximum payment = 100,000 sf x $10/sf = $1,000,000
  April 1, 2023 - Building A selects the Performance Pathway on April 1, 2023
  April 1, 2027 - Building A reports a Site EUI for CY2026 that is 10% lower than its baseline performance
  Maximum payment adjusted by 50% = $500,000
ALTERNATIVE COMPLIANCE PAYMENT
@DOEE_DC #BEPSDC
@DOEE_DC #BEPSDC

## Slide 7
BEPS Task Force proposed changes to the program where additional flexibility was needed.
Law became effective March 21, 2025. Major changes:
  Financial distress: full exemption for a cycle now available (previously only delayed compliance)
  Changing "penalties" to "payments" – allowing owners to pass through a portion of the cost to non-residential tenants
  Data verification every 6 years instead of 3
  Moving Cycle 2 start from 2027 to 2028
  Requires DOEE to establish a trajectory pathway for Cycle 2
  Etc.
Incorporating Cycle 1 changes into BEPS Guidebook v1.2 – Public comment draft published November 2025
BUILDING ENERGY PERFORMANCE STANDARDS AMENDMENT ACT OF 2024
@DOEE_DC #BEPSDC
@DOEE_DC #BEPSDC

## Slide 8
Building Owners:
Report CY25 data by 5/1/26
Operation and maintenance, implement any remaining EEMs
Collect evaluation-year data
Third-party verify (3PV) CY26 data
Apply for relief, if applicable:
  Exemption for Financial Distress
  Delay of Compliance
  Pathway Change Application
BEPS TIMELINE: 2026
@DOEE_DC #BEPSDC
@DOEE_DC #BEPSDC
DOEE:
Publish BEPS Guidebook v1.2
  Exemption for financial distress
Review applications for exemptions, delays, and pathway changes

## Slide 9
Building Owners:
Finish 3PV of CY26 data
Prepare and submit Completed Actions Report (and any other assigned reporting milestones)
Report CY26 Data
Pay any alternative compliance payments
BEPS TIMELINE: 2027
@DOEE_DC #BEPSDC
@DOEE_DC #BEPSDC
DOEE:
Review reporting and assess BEPS compliance
Collect alternative compliance payments
Develop and set standards for BEPS Period 2 (by 1/1/2028)
Develop BEPS 2 compliance rules, including trajectory pathway

## Slide 10
Building Owners:
Determine if building meets BEPS 2 (based on CY2026 data)
Report CY2027 data
Select a compliance pathway (by April 1, 2029)
BEPS TIMELINE: 2028 (and beyond…)
@DOEE_DC #BEPSDC
@DOEE_DC #BEPSDC
DOEE:
Finalize BEPS 2 rules
  Standards (including 25-50k sqft)
  Compliance Rules, including trajectory pathway
Publish Compliance Cycle 2 Guidebook
Enforcement activities for any buildings with delays of compliance

## Slide 11
QUESTIONS?
  Contact the Building Performance Division:
  Website: dc.beam-portal.org/helpdesk
  Email: building.performance@dc.gov
  Important Resources:
  Online Guidebook: dc.beam-portal.org/helpdesk/kb/BEPS_Guidebook
  Program Disclosure: www.buildingperformancedc.org

## Slide 12
BEPS DISCLOSURE MAP
@DOEE_DC #BEPSDC
@DOEE_DC #BEPSDC
Disclosure Website: opendata.dc.gov/datasets/building-energy-performance